8099 HTML README

Revised 09-28-2009

The html and gif files in the 8099 folder are the standard 8099 WebServer files.  The standard index file does not contain a link to the prototype F4 or EZ Zone control pages.

To demonstrate the F4 control page and to be able to link to it from the index page, replace the standard index page with the index page in the F4 folder.  Upload all pages and the gif file to the 8099 using ICS’s VXI11_html utility program.

To demonstrate the EZ Zone control page and to be able to link to it from the index page, replace the standard index page with the index page in the EZ folder.  Upload all pages and the gif file to the 8099 using ICS’s VXI11_html utility program.

You may also access the F4 or EZ control pages by appending ‘/F4.html’ or ‘/EZ.html’ to 8099’s IP address in the browser address window.

N.B. The F4 and EZ.html pages have substitute variables that query registers in the EZ or F4 Temperature Controllers.  If the 8099 is not connected to the proper temperature controller, the 8099 will return the 500.html error page.