9099 HTML README

Revised 7-17-2013

The html and gif files in the 9099 folder are the standard 9099 WebServer files.  All 9099 html pages have been W3C validated as XHTML 1.0 compliant.

The standard index file links to both the prototype F4 and to EZ Zone control pages.  To remove a link, first copy and save the index page as index.html.old.  Edit the index.html page by removing the html row code with the unwanted link.  That is you delete the code from the leading <tr> tag to and including the closing </tr> tag.

Use the VXI11HTML.exe utility to upload the all of the HTML files and images to the 9099.  The 9099 does not have a way to upload and replace a single file.

You may access the F4 or EZ control pages directly by appending ‘/F4.html’ or ‘/EZ.html’ to 9099’s IP address in the browser address window.

N.B. The F4 and EZ.html pages have substitute variables that query registers in the EZ or F4 Temperature Controllers.  If the 9099 is not connected to the proper temperature controller, the 9099 will return the 500.html error page.